## Slide 1: AE33 data processing, observed issues and questions
Beni Brem :: Laboratory of Atmospheric Chemistry :: Paul Scherrer Institute
AIS community workshop for data QC and data submission May 19, 2021 :: via Zoom

## Slide 2: Level O template issues
A variable that should not be in LO (Required data for its calculation are missing unless we use manufacturer presets at all stations)
biomass_burning_aerosol_fraction, %
Variables that confuse me - in our case they are not measured by the instrument but set to a constant:
pressure, hPa, Location=instrument internal, Matrix=instrument
temperature, K, Location=instrument internal, Matrix=instrument
The confusion arises for me since the header also defines:
Volume std. temperature: 273.15 K
Volume std. pressure: 1013.25 hPa
A variable that could also be confused with a measurement but is calculated by the instrument from the two spot flows:
flow_rate, l/min, Location=total sample flow, Matrix=instrument
JFJ

## Slide 3: L1 &L2 Potential Data Break due to FW and SW update?
For instrument remote access we changed Instrument SW and related firmware from 1.1.4.0 auf 1.4.7.0 on February 28, 2020
Instrument noise characteristics and comparison to MAAP have changed slightly:
JFJ

## Slide 4: L1 &L2 Potential Data Break due to FW and SW update?
JFJ